## Abaiang Island
Abaiang Island distribution network
Items | Specifications | Location | Qty | Unit
Concrete D/Box
Blue Point | AC Box blue point connector | Concrete D/Box | 15 | pc
Switchboard complete | 12 poles | Concrete D/Box | 8 | pc
Circuit Breaker | 10A | Concrete D/Box | 20 | pc
Kilowatt Hour Meter | Din rail mount, 10A | Concrete D/Box | 20 | pc
Earth rod with clamp | Copper rod with copper clamp | Concrete D/Box | 4 | pc
Earth cable | 6mm² | Concrete D/Box | 8 | m
School
Switchboard complete | 3 poles | School | 5 | pc
Circuit Breaker | 4A | School | 5 | pc
Circuit Breaker | 2A | School | 5 | pc
Earth rod with clamp | Copper rod & clamp | School | 5 | pc
Earth cable | 6mm² | School | 15 | m
Village Hall
Switchboard complete | 3 poles | Village hall | 4 | pc
Circuit Breaker | 4A | Village hall | 4 | pc
Circuit Breaker | 2A | Village hall | 4 | pc
Earth rod with clamp | Copper rod & clamp | Village hall | 4 | pc
Earth cable | 6mm² | Village hall | 12 | pc
Kiribati United Church (KUC)
Switchboard complete | 3 poles | KUC | 4 | pc
Circuit Breaker | 4A | KUC | 4 | pc
Circuit Breaker | 2A | KUC | 4 | pc
Earth rod with clamp | Copper rod & clamp | KUC | 4 | pc
Earth cable | 6mm² | KUC | 12 | pc
Roman Catholic (RC)
Switchboard complete | 3 poles | RC | 4 | pc
Circuit Breaker | 4A | RC | 4 | pc
Circuit Breaker | 2A | RC | 4 | pc
Earth rod with clamp | Copper rod & clamp | RC | 4 | pc
Earth cable | 6mm² | RC | 12 | pc
Health Center
Switchboard complete | 3 poles | Health Center | 6 | pc
Circuit Breaker | 4A | Health Center | 6 | pc
Circuit Breaker | 2A | Health Center | 6 | pc
Earth rod with clamp | Copper rod & clamp | Health Center | 6 | pc
Earth cable | 6mm² | Health Center | 18 | pc
Underground cable | 16mm sq 2 core + Earth | Health Center to Primary School | 120 | m
Underground cable | 35mm sq 2 core + Earth | Health Center to RC | 540 | m
Underground cable | 16mm sq 2 core + Earth | RC to Village Hall | 100 | m
Underground cable | 16mm sq 2 core + Earth | Village hall to KUC | 110 | m
Underground cable | 6mm sq 2 core + Earth | D/Box to end use | 1000 | m

## Maiana Island
Maiana Island distribution network
Items | Specifications | Location | Qty | Unit
Concrete D/Box
Blue Point | AC Box blue point connector | Concrete D/Box | 12 | pc
Switchboard complete | 12 poles | Concrete D/Box | 6 | pc
Circuit Breaker | 10A | Concrete D/Box | 18 | pc
Kilowatt Hour Meter | Din rail mount, 10A | Concrete D/Box | 18 | pc
Earth rod with clamp | Copper rod with copper clamp | Concrete D/Box | 3 | pc
Earth cable | 6mm² | Concrete D/Box | 6 | m
School
Switchboard complete | 3 poles | School | 5 | pc
Circuit Breaker | 4A | School | 5 | pc
Circuit Breaker | 2A | School | 5 | pc
Earth rod with clamp | Copper rod & clamp | School | 5 | pc
Earth cable | 6mm² | School | 15 | m
Village Hall
Switchboard complete | 3 poles | Village hall | 4 | pc
Circuit Breaker | 4A | Village hall | 4 | pc
Circuit Breaker | 2A | Village hall | 4 | pc
Earth rod with clamp | Copper rod & clamp | Village hall | 4 | pc
Earth cable | 6mm² | Village hall | 12 | pc
Kiribati United Church (KUC)
Switchboard complete | 3 poles | KUC | 4 | pc
Circuit Breaker | 4A | KUC | 4 | pc
Circuit Breaker | 2A | KUC | 4 | pc
Earth rod with clamp | Copper rod & clamp | KUC | 4 | pc
Earth cable | 6mm² | KUC | 12 | pc
Roman Catholic (RC)
Switchboard complete | 3 poles | RC | 4 | pc
Circuit Breaker | 4A | RC | 4 | pc
Circuit Breaker | 2A | RC | 4 | pc
Earth rod with clamp | Copper rod & clamp | RC | 4 | pc
Earth cable | 6mm² | RC | 12 | pc
Health Center
Switchboard complete | 3 poles | Health Center | 4 | pc
Circuit Breaker | 4A | Health Center | 4 | pc
Circuit Breaker | 2A | Health Center | 4 | pc
Earth rod with clamp | Copper rod & clamp | Health Center | 4 | pc
Earth cable | 6mm² | Health Center | 12 | pc
Underground cable | 16mm sq 4 core + Earth | System to School | 70 | m
Underground cable | 25mm sq 4 core + Earth | System to KUC | 130 | m
Underground cable | 16mm sq 4 core + Earth | KUC TO Village Hall | 30 | m
Underground cable | 16mm sq 2 core + Earth | Village Hall TO RC | 120 | m
Underground cable | 4mm² 2 core + earth | D/Box to end use | 800 | m
Underground cable | 6mm sq 2 core + earth | D/Box to end use | 600 | m